## Slide 1: R&S IM Spacing Sweep Development Plan
Nick Lalic
VNA Software Developer
Rohde & Schwarz North America

## Slide 2: Functionality
Measure intermodulation as a function of tone spacing
Settings:
  Lower tone port
  Upper tone source (port, external generator)
  Receiving Port
  Source for Receiver Cal
  Center Frequency (Hz)
  Initial Tone Spacing (Hz)
  Final Tone Spacing (Hz)
  Points
  Power (dBm)
  IF BW (Hz)
  IF Selectivity (Normal | Medium | High)

## Slide 3: Functionality
Output traces:
  <Side> <Type> <Location> Where
    Side: Upper | Lower | Major
    Type: IM | IP | Tone
    Location: Input | Output

## Slide 4: User Interface